# Room Housekeeping Inspection Report

Camp: Arabian Gulf

Prepared from the “room housekeeping” checklist export (query (8).xlsx) — 59 rooms inspected (Rooms 401–461)

Report date: August 3, 2026

# Executive Summary

This report summarizes the results of the housekeeping/room-condition checklist across 59 occupied rooms in Camp Arabian Gulf. The inspection is a single point-in-time snapshot: only the most recent result per room is retained in the current process, so this report reflects a single visit per room, not a trend.

- 64% of rooms (38 of 59) were rated below “Good” on overall cleanliness — 25 “Poor” and 13 “Unsatisfactory”.

- Room overcrowding is the single most common violation, flagged in 45 of 59 rooms (76%).

- German cockroach presence was noted in 32 rooms (54%); bed bugs in 4 rooms (7%).

- A light was out in 34 rooms (58%); wall/ceiling touch-up or mould was flagged in most rooms.

- The occupancy/capacity label was not updated in 56 of 59 rooms (95%) — a process/compliance gap, not a room condition per se (see Data Quality section).

- 9 rooms carry 5 or more simultaneous violations and warrant priority follow-up (see “Rooms Requiring Priority Attention”).

# Scope & Methodology

Each room was checked against a fixed 12-point checklist (cleanliness, occupancy & capacity, door, windows & screens, electrical sockets, air conditioner, wall & ceiling paint, lighting & switches, smoke detector & sprinkler, insects & pest control, furniture, and violations). Inspectors select from a predefined list of options per item; more than one option may apply to a room (e.g. a room can have both “wall touch up” and “paint mould”). Counts below are number of rooms where that option was recorded, so percentages across a category can exceed 100%.

Data source: query (8).xlsx, an export of the “room housekeeping” Microsoft Lists list. One reference row in that export (labelled “demo”) is not a real inspection — it is a configuration legend listing every valid dropdown option per field, and has been excluded from all counts in this report and moved to its own reference sheet in the accompanying cleaned workbook.

# Findings by Category

## Cleanliness

| Observation | Rooms | % of 59 |
| --- | --- | --- |
| Poor � Messy, poorly organized, unnecessary items present | 25 | 42.4% |
| Fair � Slightly untidy, needs improvement | 16 | 27.1% |
| Unsatisfactory � Dirty, cluttered, overcrowded, unpleasant odor | 13 | 22% |
| Good � Clean with minor observations | 4 | 6.8% |
| Excellent � Clean and well organized. | 1 | 1.7% |

## Occupancy & Capacity

| Observation | Rooms | % of 59 |
| --- | --- | --- |
| label not updated | 56 | 94.9% |
| Occupancy and capacity are within the approved limits | 3 | 5.1% |
| holder not fixed or damaged | 1 | 1.7% |

## Door

| Observation | Rooms | % of 59 |
| --- | --- | --- |
| ok and good condition | 38 | 64.4% |
| paint damaged | 22 | 37.3% |
| damaged lock | 1 | 1.7% |

## Windows & Screens

| Observation | Rooms | % of 59 |
| --- | --- | --- |
| ok and good condition | 39 | 66.1% |
| damaged screen net | 7 | 11.9% |
| obstructed | 4 | 6.8% |

## Electrical Sockets

| Observation | Rooms | % of 59 |
| --- | --- | --- |
| ok and working | 56 | 94.9% |
| damaged and broken | 2 | 3.4% |

## Air Conditioner

| Observation | Rooms | % of 59 |
| --- | --- | --- |
| good and working | 52 | 88.1% |
| W/leakage | 6 | 10.2% |

## Wall & Ceiling Paint

| Observation | Rooms | % of 59 |
| --- | --- | --- |
| wall touch up | 42 | 71.2% |
| paint mould nitoced | 36 | 61% |
| ceiling touch up | 9 | 15.3% |
| full paint | 5 | 8.5% |
| good condition | 5 | 8.5% |

## Lighting & Switch

| Observation | Rooms | % of 59 |
| --- | --- | --- |
| 1 light not working | 34 | 57.6% |
| good and working | 24 | 40.7% |
| 2 light not working | 1 | 1.7% |
| light switch damaged | 1 | 1.7% |

## Smoke Detector & Sprinkler

| Observation | Rooms | % of 59 |
| --- | --- | --- |
| N/A | 58 | 98.3% |

## Insects & Pest Control

| Observation | Rooms | % of 59 |
| --- | --- | --- |
| german cockroach | 32 | 54.2% |
| free of insects | 25 | 42.4% |
| bed bugs | 4 | 6.8% |

## Furniture

| Observation | Rooms | % of 59 |
| --- | --- | --- |
| 2 bunk | 54 | 91.5% |
| 2cupboard | 45 | 76.3% |
| 3 cupboard | 7 | 11.9% |
| 1 single | 5 | 8.5% |
| 4 cupboard | 5 | 8.5% |
| 1 bunk | 4 | 6.8% |
| 3 bunk | 2 | 3.4% |
| cupboard need repair | 2 | 3.4% |
| need bed barrier | 1 | 1.7% |

## Violations

| Observation | Rooms | % of 59 |
| --- | --- | --- |
| Room Crowded | 45 | 76.3% |
| Storing Food inside room | 28 | 47.5% |
| Storing cooking utensils | 26 | 44.1% |
| using extension cords during day hours | 20 | 33.9% |
| gathering waste behind the door | 18 | 30.5% |
| Lack of cleanliness inside room | 17 | 28.8% |
| Using Electricity cord attached to bed and keeping above mattress | 6 | 10.2% |
| Hanging posters on the wall, windows and doors, and using adhesive tapes | 3 | 5.1% |
| using additional/wooden furniture | 3 | 5.1% |
| using kettle | 2 | 3.4% |
| using bin inside the room | 2 | 3.4% |
| free of violation | 2 | 3.4% |
| Using Carpets in room | 1 | 1.7% |
| using Incense sticks | 1 | 1.7% |
| using unsafe extension cords( joind &without plug) | 1 | 1.7% |

# Rooms Requiring Priority Attention

Rooms with a cleanliness rating of “Poor” or “Unsatisfactory” combined with 5 or more recorded violations:

| Room # | Cleanliness Rating | Violation Count |
| --- | --- | --- |
| 443 | Poor | 6 |
| 404 | Poor | 5 |
| 408 | Poor | 5 |
| 412 | Poor | 5 |
| 416 | Poor | 5 |
| 422 | Unsatisfactory | 5 |
| 427 | Poor | 5 |
| 445 | Poor | 5 |
| 456 | Unsatisfactory | 5 |

# Data Quality Observations

- “Occupancy & Capacity”: 56 of 59 rooms are recorded as “label not updated,” meaning the physical occupancy/capacity card posted in the room is out of date — this is itself one of the three valid checklist options, not missing data. It points to a standing administrative gap (room occupancy cards not being refreshed) rather than a room-condition issue, and should be tracked and closed out separately from physical maintenance items.

- “Electrical Socket”: 2 rooms recorded “damaged and broken,” a value that is not one of the field's configured dropdown options (only “ok and working” is defined) — the checklist's option list for this field should be extended so this can be selected consistently instead of typed as free text.

- “Smoke detector and sprinkler” has no defined dropdown options in the source list at all; inspectors free-typed “N/A” in various spellings (N/A, N//A, N/.A, N/W), all standardized to “N/A” in the cleaned workbook. This field should get a proper option list (e.g. Present/Working, Present/Not Working, Not Installed) since “N/A” for every room suggests the field isn't capturing anything useful today.

- Multi-issue answers are stored as a single delimited text string (e.g. “wall touch up;#paint mould”), which is why this report and the cleaned workbook had to split them programmatically — this is one of the core problems the proposed automation web app (see the accompanying schema & rollout plan) is designed to fix at the source.

# Recommendations

- Prioritize the 9 rooms listed above for an immediate follow-up visit and corrective action.

- Launch a pest-control pass targeting german cockroach (32 rooms) and bed bugs (4 rooms) camp-wide, not room-by-room.

- Address the light-out rate (34 of 59 rooms) as a single maintenance batch — likely a bulk bulb/fixture replacement round is more efficient than per-room tickets.

- Reissue/update occupancy-capacity labels across the camp (56 rooms) as a standalone administrative task.

- Adopt the checklist-option fixes noted under Data Quality (Electrical Socket, Smoke detector) before the next inspection cycle.

- Move to the digital inspection app described in the companion “Schema & Rollout Plan” document to get photo evidence, full history per room, a draft/submit workflow, and reliable multi-select data going forward (v1 is scoped online-only, matching the reference stack — see that document for the offline decision).