DATE:1/2/2025

CAMP: Arabian Gulf

ROOM #:101

Residents of the room (ID):

| S | Description | COMMENT | ACTION |
| --- | --- | --- | --- |
| 1 | Room cleanliness | Fair – Slightly untidy, needs improvement |  |
| 2 | Occupancy & Capacity | Occupancy and capacity are within the approved limits |  |
| 3 | Door | damaged lock;#paint damaged |  |
| 4 | Window and window screen | obstructed;#The window wheel is rusted and stuck |  |
| 5 | Electrical Sockets | ok and working |  |
| 6 | air conditioner | W/leakage;#not cooling |  |
| 7 | wall and ceiling paint | wall touch up |  |
| 8 | lighting and light switch | 2 light not working |  |
| 9 | smoke detector and sprinkler | ok |  |
| 10 | Insects and pest control | bed bugs;#german cockroach |  |
| 11 | furniture, specify the number per unit. | 1 single;# 1 bunk; #2cupboard |  |
| 12 | violations | Lack of cleanliness inside room; #Smoking inside rooms; #Using Electricity cord attached to bed and keeping above mattress |  |