## Summary
Room Housekeeping Inspection — Summary
Camp: Arabian Gulf. Source: query (8).xlsx (SharePoint list export), cleaned into the Data sheet. All counts below are formulas over the Data sheet, so they recalculate automatically if Data changes.
Total rooms inspected
Cleanliness
Poor – Messy, poorly organized, unnecessary items present
Fair – Slightly untidy, needs improvement
Unsatisfactory – Dirty, cluttered, overcrowded, unpleasant odor
Good – Clean with minor observations
Excellent – Clean and well organized.
Occupancy & Capacity
label not updated
Occupancy and capacity are within the approved limits
holder not fixed or damaged
Door
ok and good condition
paint damaged
damaged lock
handle loose or damaged
hinges loose
The door frame has visible gaps
Windows & Screens
ok and good condition
damaged screen net
obstructed
window safety not available
The window wheel is rusted and stuck
window track is dirty
Electrical Sockets
ok and working
damaged and broken
Air Conditioner
good and working
W/leakage
remote not working
remote not functioning
not cooling
swing blades missed or loose
Wall & Ceiling Paint
wall touch up
paint mould nitoced
ceiling touch up
full paint
good condition
Lighting & Switch
1 light not working
good and working
2 light not working
light switch damaged
3 light not working
Smoke Detector & Sprinkler
N/A
Insects & Pest Control
german cockroach
free of insects
bed bugs
Furniture
2 bunk
2cupboard
3 cupboard
1 single
4 cupboard
1 bunk
3 bunk
cupboard need repair
need bed barrier
2 single
3 single
4 single
4 bunk
1 cupboard
need bed ladder
Violations
Room Crowded
Storing Food inside room
Storing cooking utensils
using extension cords during day hours
gathering waste behind the door
Lack of cleanliness inside room
Using Electricity cord attached to bed and keeping above mattress
Hanging posters on the wall, windows and doors, and using adhesive tapes
using additional/wooden furniture
using kettle
using bin inside the room
free of violation
Using Carpets in room
using Incense sticks
using unsafe extension cords( joind &without plug)
Smoking inside rooms
Using of microwaves, hotplates & ovens inside room
Keep A/C working without person inside
nailing hangers on door and walls
using sticky hangers on door and walls

## Data
| Cleanliness | [5 empty] | Occupancy & Capacity |  |  |  | Door | [6 empty] | Windows & Screens | [6 empty] | Electrical Sockets |  |  | Air Conditioner | [6 empty] | Wall & Ceiling Paint | [5 empty] | Lighting & Switch | [5 empty] | Smoke Detector & Sprinkler |  | Insects & Pest Control |  |  |  | Furniture | [15 empty] | Violations
| Cleanliness (raw) | Excellent – Clean and well organized. | Fair – Slightly untidy, needs improvement | Poor – Messy, poorly organized, unnecessary items present | Unsatisfactory – Dirty, cluttered, overcrowded, unpleasant odor | Good – Clean with minor observations | Occupancy & Capacity (raw) | label not updated | holder not fixed or damaged | Occupancy and capacity are within the approved limits | Door (raw) | handle loose or damaged | damaged lock | hinges loose | The door frame has visible gaps | paint damaged | ok and good condition | Windows & Screens (raw) | obstructed | damaged screen net | window safety not available | The window wheel is rusted and stuck | window track is dirty | ok and good condition | Electrical Sockets (raw) | ok and working | damaged and broken | Air Conditioner (raw) | W/leakage | remote not working | remote not functioning | not cooling | good and working | swing blades missed or loose | Wall & Ceiling Paint (raw) | wall touch up | ceiling touch up | full paint | good condition | paint mould nitoced | Lighting & Switch (raw) | 1 light not working | 2 light not working | 3 light not working | light switch damaged | good and working | Smoke Detector & Sprinkler (raw) | N/A | Insects & Pest Control (raw) | german cockroach | bed bugs | free of insects | Furniture (raw) | 1 single | 2 single | 3 single | 4 single | 1 bunk | 2 bunk | 3 bunk | 4 bunk | 1 cupboard | 2cupboard | 3 cupboard | 4 cupboard | need bed barrier | need bed ladder | cupboard need repair | Violations (raw) | Room Crowded | Lack of cleanliness inside room | Smoking inside rooms | Using Carpets in room | Storing Food inside room | Using Electricity cord attached to bed and keeping above mattress | Using of microwaves, hotplates & ovens inside room | Keep A/C working without person inside | using kettle | using bin inside the room | using Incense sticks | using unsafe extension cords( joind &without plug) | nailing hangers on door and walls | using sticky hangers on door and walls | Hanging posters on the wall, windows and doors, and using adhesive tapes | Storing cooking utensils | gathering waste behind the door | using additional/wooden furniture | free of violation | using extension cords during day hours
401 | Fair – Slightly untidy, needs improvement | 0 | 1 | 0 | 0 | 0 | label not updated | 1 | 0 | 0 | paint damaged | 0 | 0 | 0 | 0 | 1 | 0 | damaged screen net | 0 | 1 | 0 | 0 | 0 | 0 | damaged and broken | 0 | 1 | good and working | 0 | 0 | 0 | 0 | 1 | 0 | paint mould nitoced;#wall touch up | 1 | 0 | 0 | 0 | 1 | good and working;#light switch damaged | 0 | 0 | 0 | 1 | 1 | N/A | 1 | german cockroach | 1 | 0 | 0 | 2 bunk;#3 cupboard | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
402 | Unsatisfactory – Dirty, cluttered, overcrowded, unpleasant odor | 0 | 0 | 0 | 1 | 0 | label not updated | 1 | 0 | 0 | paint damaged | 0 | 0 | 0 | 0 | 1 | 0 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and working | 1 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | 0 | wall touch up | 1 | 0 | 0 | 0 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | N/A | 1 | german cockroach | 1 | 0 | 0 | 2 bunk;#2cupboard | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | Storing Food inside room;#Using Electricity cord attached to bed and keeping above mattress;#using extension cords during day hours | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
403 | Poor – Messy, poorly organized, unnecessary items present | 0 | 0 | 1 | 0 | 0 | label not updated | 1 | 0 | 0 | paint damaged | 0 | 0 | 0 | 0 | 1 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | ok and working | 1 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | 0 | paint mould nitoced;#wall touch up | 1 | 0 | 0 | 0 | 1 | 1 light not working | 1 | 0 | 0 | 0 | 0 | N/A | 1 | german cockroach | 1 | 0 | 0 | 2 bunk;#2cupboard | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | Room Crowded;#Storing Food inside room;#using extension cords during day hours;#gathering waste behind the door | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
404 | Poor – Messy, poorly organized, unnecessary items present | 0 | 0 | 1 | 0 | 0 | label not updated | 1 | 0 | 0 | paint damaged | 0 | 0 | 0 | 0 | 1 | 0 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | damaged and broken | 0 | 1 | good and working | 0 | 0 | 0 | 0 | 1 | 0 | wall touch up;#paint mould nitoced | 1 | 0 | 0 | 0 | 1 | good and working | 0 | 0 | 0 | 0 | 1 | N/A | 1 | free of insects | 0 | 0 | 1 | 2 bunk;#2cupboard | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | Room Crowded;#Storing Food inside room;#gathering waste behind the door;#using extension cords during day hours;#using kettle | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
405 | Poor – Messy, poorly organized, unnecessary items present | 0 | 0 | 1 | 0 | 0 | label not updated | 1 | 0 | 0 | paint damaged | 0 | 0 | 0 | 0 | 1 | 0 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and working | 1 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | 0 | wall touch up;#ceiling touch up | 1 | 1 | 0 | 0 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | N/A | 1 | free of insects | 0 | 0 | 1 | 2 bunk;#4 cupboard | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | Room Crowded;#Storing cooking utensils;#using extension cords during day hours;#Using Electricity cord attached to bed and keeping above mattress | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1
406 | Fair – Slightly untidy, needs improvement | 0 | 1 | 0 | 0 | 0 | label not updated | 1 | 0 | 0 | paint damaged | 0 | 0 | 0 | 0 | 1 | 0 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and working | 1 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | 0 | wall touch up;#paint mould nitoced | 1 | 0 | 0 | 0 | 1 | 1 light not working | 1 | 0 | 0 | 0 | 0 | N/A | 1 | free of insects | 0 | 0 | 1 | 2 bunk;#3 cupboard | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | Room Crowded;#using extension cords during day hours;#gathering waste behind the door;#Storing Food inside room | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
407 | Poor – Messy, poorly organized, unnecessary items present | 0 | 0 | 1 | 0 | 0 | label not updated | 1 | 0 | 0 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and working | 1 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | 0 | paint mould nitoced;#wall touch up | 1 | 0 | 0 | 0 | 1 | good and working | 0 | 0 | 0 | 0 | 1 | N/A | 1 | free of insects | 0 | 0 | 1 | 2 bunk;#2cupboard;#cupboard need repair | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | Room Crowded;#Lack of cleanliness inside room;#Storing Food inside room;#Storing cooking utensils | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
408 | Poor – Messy, poorly organized, unnecessary items present | 0 | 0 | 1 | 0 | 0 | label not updated | 1 | 0 | 0 | paint damaged | 0 | 0 | 0 | 0 | 1 | 0 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and working | 1 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | 0 | wall touch up;#paint mould nitoced | 1 | 0 | 0 | 0 | 1 | 1 light not working | 1 | 0 | 0 | 0 | 0 | N/A | 1 | german cockroach | 1 | 0 | 0 | 2 bunk;#2cupboard | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | Room Crowded;#Using Electricity cord attached to bed and keeping above mattress;#Lack of cleanliness inside room;#Storing cooking utensils;#gathering waste behind the door | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
409 | Fair – Slightly untidy, needs improvement | 0 | 1 | 0 | 0 | 0 | label not updated | 1 | 0 | 0 | paint damaged | 0 | 0 | 0 | 0 | 1 | 0 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and working | 1 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | 0 | paint mould nitoced | 0 | 0 | 0 | 0 | 1 | 1 light not working | 1 | 0 | 0 | 0 | 0 | N/A | 1 | german cockroach | 1 | 0 | 0 | 2 bunk;#2cupboard | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | Storing Food inside room | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
410 | Poor – Messy, poorly organized, unnecessary items present | 0 | 0 | 1 | 0 | 0 | label not updated | 1 | 0 | 0 | paint damaged | 0 | 0 | 0 | 0 | 1 | 0 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and working | 1 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | 0 | wall touch up;#paint mould nitoced | 1 | 0 | 0 | 0 | 1 | 1 light not working | 1 | 0 | 0 | 0 | 0 | N/A | 1 | german cockroach | 1 | 0 | 0 | 2 bunk;#2cupboard | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | Room Crowded;#using extension cords during day hours | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
411 | Poor – Messy, poorly organized, unnecessary items present | 0 | 0 | 1 | 0 | 0 | label not updated | 1 | 0 | 0 | paint damaged | 0 | 0 | 0 | 0 | 1 | 0 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and working | 1 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | 0 | wall touch up;#paint mould nitoced | 1 | 0 | 0 | 0 | 1 | 1 light not working | 1 | 0 | 0 | 0 | 0 | N/A | 1 | free of insects | 0 | 0 | 1 | 2 bunk;#2cupboard | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | Room Crowded;#using extension cords during day hours;#Storing Food inside room;#Storing cooking utensils | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1
412 | Poor – Messy, poorly organized, unnecessary items present | 0 | 0 | 1 | 0 | 0 | label not updated | 1 | 0 | 0 | paint damaged | 0 | 0 | 0 | 0 | 1 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | ok and working | 1 | 0 | W/leakage | 1 | 0 | 0 | 0 | 0 | 0 | wall touch up | 1 | 0 | 0 | 0 | 0 | 1 light not working | 1 | 0 | 0 | 0 | 0 | N/A | 1 | free of insects | 0 | 0 | 1 | 2 bunk;#4 cupboard | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | gathering waste behind the door;#using extension cords during day hours;#using additional/wooden furniture;#using unsafe extension cords( joind &without plug);#Room Crowded | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1
413 | Fair – Slightly untidy, needs improvement | 0 | 1 | 0 | 0 | 0 | label not updated | 1 | 0 | 0 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and working | 1 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | 0 | ceiling touch up;#paint mould nitoced;#wall touch up | 1 | 1 | 0 | 0 | 1 | good and working | 0 | 0 | 0 | 0 | 1 | N/A | 1 | free of insects | 0 | 0 | 1 | 2cupboard;#2 bunk | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | Room Crowded;#Storing Food inside room;#Storing cooking utensils | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
414 | Fair – Slightly untidy, needs improvement | 0 | 1 | 0 | 0 | 0 | label not updated | 1 | 0 | 0 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and working | 1 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | 0 | wall touch up;#paint mould nitoced | 1 | 0 | 0 | 0 | 1 | good and working | 0 | 0 | 0 | 0 | 1 | N/A | 1 | german cockroach | 1 | 0 | 0 | 2 bunk;#2cupboard | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | Room Crowded;#gathering waste behind the door | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0
415 | Fair – Slightly untidy, needs improvement | 0 | 1 | 0 | 0 | 0 | Occupancy and capacity are within the approved limits | 0 | 0 | 1 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | obstructed | 1 | 0 | 0 | 0 | 0 | 0 | ok and working | 1 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | 0 | ceiling touch up | 0 | 1 | 0 | 0 | 0 | 1 light not working | 1 | 0 | 0 | 0 | 0 | N/A | 1 | free of insects | 0 | 0 | 1 | 2 bunk;#3 cupboard | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | Storing Food inside room;#gathering waste behind the door | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0
416 | Poor – Messy, poorly organized, unnecessary items present | 0 | 0 | 1 | 0 | 0 | label not updated | 1 | 0 | 0 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and working | 1 | 0 | W/leakage | 1 | 0 | 0 | 0 | 0 | 0 | ceiling touch up | 0 | 1 | 0 | 0 | 0 | 1 light not working | 1 | 0 | 0 | 0 | 0 | N/A | 1 | bed bugs | 0 | 1 | 0 | 2 bunk;#3 bunk | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Room Crowded;#gathering waste behind the door;#Storing cooking utensils;#Storing Food inside room;#using extension cords during day hours | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 1
417 | Good – Clean with minor observations | 0 | 0 | 0 | 0 | 1 | label not updated | 1 | 0 | 0 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and working | 1 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | 0 | wall touch up;#paint mould nitoced | 1 | 0 | 0 | 0 | 1 | 1 light not working | 1 | 0 | 0 | 0 | 0 | N/A | 1 | free of insects | 0 | 0 | 1 | 2 bunk;#2cupboard | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | Storing cooking utensils | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
418 | Good – Clean with minor observations | 0 | 0 | 0 | 0 | 1 | label not updated | 1 | 0 | 0 | damaged lock;#ok and good condition | 0 | 1 | 0 | 0 | 0 | 1 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and working | 1 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | 0 | ceiling touch up | 0 | 1 | 0 | 0 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | N/A | 1 | free of insects | 0 | 0 | 1 | 2 bunk;#2cupboard | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | free of violation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
419 | Fair – Slightly untidy, needs improvement | 0 | 1 | 0 | 0 | 0 | label not updated | 1 | 0 | 0 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and working | 1 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | 0 | wall touch up | 1 | 0 | 0 | 0 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | N/A | 1 | bed bugs | 0 | 1 | 0 | 2 bunk;#2cupboard;#need bed barrier | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | Storing Food inside room | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
420 | Poor – Messy, poorly organized, unnecessary items present | 0 | 0 | 1 | 0 | 0 | label not updated | 1 | 0 | 0 | paint damaged | 0 | 0 | 0 | 0 | 1 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | ok and working | 1 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | 0 | wall touch up;#paint mould nitoced | 1 | 0 | 0 | 0 | 1 | 1 light not working | 1 | 0 | 0 | 0 | 0 | N/A | 1 | german cockroach;#bed bugs | 1 | 1 | 0 | 2 bunk;#2cupboard | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | Room Crowded;#Lack of cleanliness inside room;#using extension cords during day hours;#gathering waste behind the door | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
421 | Good – Clean with minor observations | 0 | 0 | 0 | 0 | 1 | label not updated | 1 | 0 | 0 | paint damaged | 0 | 0 | 0 | 0 | 1 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | ok and working | 1 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | 0 | good condition | 0 | 0 | 0 | 1 | 0 | 1 light not working | 1 | 0 | 0 | 0 | 0 | N/A | 1 | free of insects | 0 | 0 | 1 | 2 bunk;#2cupboard | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | using extension cords during day hours;#Storing Food inside room | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
422 | Unsatisfactory – Dirty, cluttered, overcrowded, unpleasant odor | 0 | 0 | 0 | 1 | 0 | label not updated | 1 | 0 | 0 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | ok and working | 1 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | 0 | wall touch up;#paint mould nitoced | 1 | 0 | 0 | 0 | 1 | 1 light not working | 1 | 0 | 0 | 0 | 0 | N/A | 1 | german cockroach;#free of insects | 1 | 0 | 1 | 2 bunk;#2cupboard | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | Room Crowded;#Lack of cleanliness inside room;#Storing Food inside room;#Storing cooking utensils;#using extension cords during day hours | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1
423 | Unsatisfactory – Dirty, cluttered, overcrowded, unpleasant odor | 0 | 0 | 0 | 1 | 0 | label not updated | 1 | 0 | 0 | paint damaged | 0 | 0 | 0 | 0 | 1 | 0 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and working | 1 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | 0 | full paint;#paint mould nitoced | 0 | 0 | 1 | 0 | 1 | 1 light not working | 1 | 0 | 0 | 0 | 0 | N/A | 1 | german cockroach | 1 | 0 | 0 | 2 bunk;#2cupboard | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | Room Crowded | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
424 | Poor – Messy, poorly organized, unnecessary items present | 0 | 0 | 1 | 0 | 0 | label not updated | 1 | 0 | 0 | paint damaged | 0 | 0 | 0 | 0 | 1 | 0 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and working | 1 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | 0 | wall touch up | 1 | 0 | 0 | 0 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | N/A | 1 | german cockroach | 1 | 0 | 0 | 2 bunk;#2cupboard | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | using extension cords during day hours;#Room Crowded;#using Incense sticks;#Hanging posters on the wall, windows and doors, and using adhesive tapes | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1
425 | Unsatisfactory – Dirty, cluttered, overcrowded, unpleasant odor | 0 | 0 | 0 | 1 | 0 | label not updated | 1 | 0 | 0 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and working | 1 | 0 | W/leakage | 1 | 0 | 0 | 0 | 0 | 0 | wall touch up;#paint mould nitoced | 1 | 0 | 0 | 0 | 1 | good and working | 0 | 0 | 0 | 0 | 1 | N/A | 1 | german cockroach | 1 | 0 | 0 | 2cupboard;#2 bunk | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | Room Crowded;#Lack of cleanliness inside room;#using extension cords during day hours | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
426 | Unsatisfactory – Dirty, cluttered, overcrowded, unpleasant odor | 0 | 0 | 0 | 1 | 0 | label not updated | 1 | 0 | 0 | paint damaged | 0 | 0 | 0 | 0 | 1 | 0 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and working | 1 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | 0 | wall touch up | 1 | 0 | 0 | 0 | 0 | 2 light not working | 0 | 1 | 0 | 0 | 0 | N/A | 1 | german cockroach | 1 | 0 | 0 | 1 single;#1 bunk;#3 bunk | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Room Crowded;#Lack of cleanliness inside room;#Storing cooking utensils;#Storing Food inside room | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
427 | Poor – Messy, poorly organized, unnecessary items present | 0 | 0 | 1 | 0 | 0 | label not updated | 1 | 0 | 0 | paint damaged | 0 | 0 | 0 | 0 | 1 | 0 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and working | 1 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | 0 | wall touch up | 1 | 0 | 0 | 0 | 0 | 1 light not working | 1 | 0 | 0 | 0 | 0 | N/A | 1 | german cockroach | 1 | 0 | 0 | 2 bunk;#2cupboard | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | Room Crowded;#Lack of cleanliness inside room;#using extension cords during day hours;#Storing Food inside room;#Storing cooking utensils | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1
428 | Poor – Messy, poorly organized, unnecessary items present | 0 | 0 | 1 | 0 | 0 | label not updated | 1 | 0 | 0 | paint damaged | 0 | 0 | 0 | 0 | 1 | 0 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and working | 1 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | 0 | wall touch up | 1 | 0 | 0 | 0 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | N/A | 1 | german cockroach | 1 | 0 | 0 | 2 bunk;#2cupboard | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | Room Crowded;#Lack of cleanliness inside room;#Storing Food inside room | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
429 | Fair – Slightly untidy, needs improvement | 0 | 1 | 0 | 0 | 0 | label not updated | 1 | 0 | 0 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | damaged screen net | 0 | 1 | 0 | 0 | 0 | 0 | ok and working | 1 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | 0 | wall touch up | 1 | 0 | 0 | 0 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | N/A | 1 | free of insects | 0 | 0 | 1 | 1 single;#2cupboard | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | free of violation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
430 | Fair – Slightly untidy, needs improvement | 0 | 1 | 0 | 0 | 0 | Occupancy and capacity are within the approved limits | 0 | 0 | 1 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | obstructed | 1 | 0 | 0 | 0 | 0 | 0 | ok and working | 1 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | 0 | good condition | 0 | 0 | 0 | 1 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | N/A | 1 | german cockroach | 1 | 0 | 0 | 1 single;#1 bunk;#2cupboard | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | Room Crowded;#using additional/wooden furniture | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
432 | Excellent – Clean and well organized. | 1 | 0 | 0 | 0 | 0 | label not updated | 1 | 0 | 0 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | damaged screen net | 0 | 1 | 0 | 0 | 0 | 0 | ok and working | 1 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | 0 | good condition | 0 | 0 | 0 | 1 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | N/A | 1 | free of insects | 0 | 0 | 1 | 2cupboard;#2 bunk | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
433 | Fair – Slightly untidy, needs improvement | 0 | 1 | 0 | 0 | 0 | label not updated | 1 | 0 | 0 | paint damaged | 0 | 0 | 0 | 0 | 1 | 0 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and working | 1 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | 0 | good condition | 0 | 0 | 0 | 1 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | N/A | 1 | free of insects | 0 | 0 | 1 | 1 single;#1 bunk;#3 cupboard | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | Using Carpets in room;#using additional/wooden furniture;#Storing cooking utensils;#Hanging posters on the wall, windows and doors, and using adhesive tapes;#using bin inside the room | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 0 | 0
434 | Poor – Messy, poorly organized, unnecessary items present | 0 | 0 | 1 | 0 | 0 | label not updated | 1 | 0 | 0 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | ok and working | 1 | 0 | W/leakage | 1 | 0 | 0 | 0 | 0 | 0 | paint mould nitoced;#wall touch up | 1 | 0 | 0 | 0 | 1 | 1 light not working | 1 | 0 | 0 | 0 | 0 | N/A | 1 | free of insects | 0 | 0 | 1 | 2 bunk;#4 cupboard | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | Room Crowded;#Storing cooking utensils;#Using Electricity cord attached to bed and keeping above mattress | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
435 | Fair – Slightly untidy, needs improvement | 0 | 1 | 0 | 0 | 0 | Occupancy and capacity are within the approved limits | 0 | 0 | 1 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and working | 1 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | 0 | good condition | 0 | 0 | 0 | 1 | 0 | 1 light not working | 1 | 0 | 0 | 0 | 0 | N/A | 1 | free of insects | 0 | 0 | 1 | 1 single;#1 bunk;#4 cupboard | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | using extension cords during day hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
436 | Unsatisfactory – Dirty, cluttered, overcrowded, unpleasant odor | 0 | 0 | 0 | 1 | 0 | label not updated | 1 | 0 | 0 | paint damaged | 0 | 0 | 0 | 0 | 1 | 0 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and working | 1 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | 0 | full paint;#paint mould nitoced | 0 | 0 | 1 | 0 | 1 | 1 light not working | 1 | 0 | 0 | 0 | 0 | N/A | 1 | german cockroach | 1 | 0 | 0 | 2 bunk;#2cupboard | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | Room Crowded;#Lack of cleanliness inside room;#Storing Food inside room;#Storing cooking utensils | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
437 | Poor – Messy, poorly organized, unnecessary items present | 0 | 0 | 1 | 0 | 0 | label not updated | 1 | 0 | 0 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | obstructed | 1 | 0 | 0 | 0 | 0 | 0 | ok and working | 1 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | 0 | full paint;#paint mould nitoced | 0 | 0 | 1 | 0 | 1 | good and working | 0 | 0 | 0 | 0 | 1 | N/A | 1 | german cockroach | 1 | 0 | 0 | 2 bunk;#2cupboard | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | Room Crowded;#Storing cooking utensils | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
438 | Unsatisfactory – Dirty, cluttered, overcrowded, unpleasant odor | 0 | 0 | 0 | 1 | 0 | label not updated | 1 | 0 | 0 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and working | 1 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | 0 | wall touch up;#paint mould nitoced | 1 | 0 | 0 | 0 | 1 | good and working | 0 | 0 | 0 | 0 | 1 | N/A | 1 | free of insects | 0 | 0 | 1 | 2cupboard;#2 bunk | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | Room Crowded;#Lack of cleanliness inside room;#gathering waste behind the door;#Storing cooking utensils | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
439 | Poor – Messy, poorly organized, unnecessary items present | 0 | 0 | 1 | 0 | 0 | label not updated | 1 | 0 | 0 | paint damaged | 0 | 0 | 0 | 0 | 1 | 0 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and working | 1 | 0 | W/leakage | 1 | 0 | 0 | 0 | 0 | 0 | wall touch up;#paint mould nitoced | 1 | 0 | 0 | 0 | 1 | good and working | 0 | 0 | 0 | 0 | 1 |  | 0 | german cockroach | 1 | 0 | 0 | 2 bunk;#2cupboard | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | Room Crowded;#Lack of cleanliness inside room;#Storing cooking utensils | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
440 | Poor – Messy, poorly organized, unnecessary items present | 0 | 0 | 1 | 0 | 0 | label not updated | 1 | 0 | 0 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | damaged screen net | 0 | 1 | 0 | 0 | 0 | 0 | ok and working | 1 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | 0 | wall touch up;#paint mould nitoced | 1 | 0 | 0 | 0 | 1 | 1 light not working | 1 | 0 | 0 | 0 | 0 | N/A | 1 | german cockroach | 1 | 0 | 0 | 2 bunk;#2cupboard | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | Room Crowded;#gathering waste behind the door | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0
441 | Unsatisfactory – Dirty, cluttered, overcrowded, unpleasant odor | 0 | 0 | 0 | 1 | 0 | label not updated | 1 | 0 | 0 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | obstructed | 1 | 0 | 0 | 0 | 0 | 0 | ok and working | 1 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | 0 | ceiling touch up;#paint mould nitoced | 0 | 1 | 0 | 0 | 1 | 1 light not working | 1 | 0 | 0 | 0 | 0 | N/A | 1 | german cockroach | 1 | 0 | 0 | 2 bunk;#3 cupboard | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | Room Crowded;#Lack of cleanliness inside room;#Storing Food inside room | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
442 | Poor – Messy, poorly organized, unnecessary items present | 0 | 0 | 1 | 0 | 0 | label not updated | 1 | 0 | 0 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and working | 1 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | 0 | wall touch up | 1 | 0 | 0 | 0 | 0 | 1 light not working | 1 | 0 | 0 | 0 | 0 | N/A | 1 | german cockroach | 1 | 0 | 0 | 2 bunk;#2cupboard | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | Room Crowded;#Storing Food inside room;#Storing cooking utensils;#gathering waste behind the door | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
443 | Poor – Messy, poorly organized, unnecessary items present | 0 | 0 | 1 | 0 | 0 | label not updated | 1 | 0 | 0 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and working | 1 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | 0 | wall touch up;#paint mould nitoced | 1 | 0 | 0 | 0 | 1 | 1 light not working | 1 | 0 | 0 | 0 | 0 | N/A | 1 | german cockroach | 1 | 0 | 0 | 2 bunk;#2cupboard | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | Room Crowded;#Lack of cleanliness inside room;#using bin inside the room;#using kettle;#Storing cooking utensils;#Storing Food inside room | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
444 | Fair – Slightly untidy, needs improvement | 0 | 1 | 0 | 0 | 0 | label not updated | 1 | 0 | 0 | paint damaged;#ok and good condition | 0 | 0 | 0 | 0 | 1 | 1 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and working | 1 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | 0 | full paint;#paint mould nitoced | 0 | 0 | 1 | 0 | 1 | 1 light not working | 1 | 0 | 0 | 0 | 0 | N/A | 1 | free of insects | 0 | 0 | 1 | 2 bunk;#2cupboard;#cupboard need repair | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | Room Crowded;#gathering waste behind the door | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0
445 | Poor – Messy, poorly organized, unnecessary items present | 0 | 0 | 1 | 0 | 0 | label not updated | 1 | 0 | 0 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and working | 1 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | 0 | wall touch up | 1 | 0 | 0 | 0 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | N/A | 1 | german cockroach | 1 | 0 | 0 | 2 bunk;#2cupboard | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | Room Crowded;#Lack of cleanliness inside room;#Storing Food inside room;#Storing cooking utensils;#gathering waste behind the door | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
447 | Poor – Messy, poorly organized, unnecessary items present | 0 | 0 | 1 | 0 | 0 | label not updated | 1 | 0 | 0 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | damaged screen net | 0 | 1 | 0 | 0 | 0 | 0 | ok and working | 1 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | 0 | wall touch up | 1 | 0 | 0 | 0 | 0 | 1 light not working | 1 | 0 | 0 | 0 | 0 | N/A | 1 | bed bugs | 0 | 1 | 0 | 2 bunk;#2cupboard | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | Room Crowded;#gathering waste behind the door;#Storing Food inside room;#Storing cooking utensils | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
448 | Unsatisfactory – Dirty, cluttered, overcrowded, unpleasant odor | 0 | 0 | 0 | 1 | 0 | label not updated | 1 | 0 | 0 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and working | 1 | 0 | W/leakage | 1 | 0 | 0 | 0 | 0 | 0 | wall touch up | 1 | 0 | 0 | 0 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | N/A | 1 | german cockroach | 1 | 0 | 0 | 2 bunk;#2cupboard | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | Storing Food inside room;#Storing cooking utensils;#gathering waste behind the door | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
449 | Good – Clean with minor observations | 0 | 0 | 0 | 0 | 1 | label not updated | 1 | 0 | 0 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | ok and working | 1 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | 0 | wall touch up;#paint mould nitoced | 1 | 0 | 0 | 0 | 1 | 1 light not working | 1 | 0 | 0 | 0 | 0 | N/A | 1 | free of insects | 0 | 0 | 1 | 2 bunk;#2cupboard | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | Room Crowded | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
450 | Poor – Messy, poorly organized, unnecessary items present | 0 | 0 | 1 | 0 | 0 | label not updated | 1 | 0 | 0 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and working | 1 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | 0 | wall touch up;#paint mould nitoced | 1 | 0 | 0 | 0 | 1 | 1 light not working | 1 | 0 | 0 | 0 | 0 | N/A | 1 | german cockroach | 1 | 0 | 0 | 2 bunk;#2cupboard | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | Room Crowded;#gathering waste behind the door;#Storing Food inside room;#Storing cooking utensils | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
451 | Poor – Messy, poorly organized, unnecessary items present | 0 | 0 | 1 | 0 | 0 | holder not fixed or damaged;#label not updated | 1 | 1 | 0 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and working | 1 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | 0 | ceiling touch up;#paint mould nitoced | 0 | 1 | 0 | 0 | 1 | good and working | 0 | 0 | 0 | 0 | 1 | N/A | 1 | free of insects | 0 | 0 | 1 | 2 bunk;#2cupboard | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | Room Crowded | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
452 | Unsatisfactory – Dirty, cluttered, overcrowded, unpleasant odor | 0 | 0 | 0 | 1 | 0 | label not updated | 1 | 0 | 0 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and working | 1 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | 0 | wall touch up;#paint mould nitoced | 1 | 0 | 0 | 0 | 1 | 1 light not working | 1 | 0 | 0 | 0 | 0 | N/A | 1 | german cockroach | 1 | 0 | 0 | 2 bunk;#3 cupboard | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | Room Crowded;#Storing Food inside room;#Hanging posters on the wall, windows and doors, and using adhesive tapes | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
453 | Poor – Messy, poorly organized, unnecessary items present | 0 | 0 | 1 | 0 | 0 | label not updated | 1 | 0 | 0 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and working | 1 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | 0 | full paint;#paint mould nitoced | 0 | 0 | 1 | 0 | 1 | 1 light not working | 1 | 0 | 0 | 0 | 0 | N/A | 1 | german cockroach | 1 | 0 | 0 | 2 bunk;#3 cupboard | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | using extension cords during day hours;#Storing Food inside room;#Storing cooking utensils;#Room Crowded | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1
454 | Fair – Slightly untidy, needs improvement | 0 | 1 | 0 | 0 | 0 | label not updated | 1 | 0 | 0 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | ok and working | 1 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | 0 | wall touch up;#paint mould nitoced | 1 | 0 | 0 | 0 | 1 | good and working | 0 | 0 | 0 | 0 | 1 | N/A | 1 | free of insects | 0 | 0 | 1 | 2 bunk;#2cupboard | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | Room Crowded;#using extension cords during day hours | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
455 | Unsatisfactory – Dirty, cluttered, overcrowded, unpleasant odor | 0 | 0 | 0 | 1 | 0 | label not updated | 1 | 0 | 0 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | wall touch up;#paint mould nitoced | 1 | 0 | 0 | 0 | 1 | 1 light not working | 1 | 0 | 0 | 0 | 0 | N/A | 1 | free of insects | 0 | 0 | 1 | 2 bunk;#2cupboard | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | Room Crowded;#Lack of cleanliness inside room | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
456 | Unsatisfactory – Dirty, cluttered, overcrowded, unpleasant odor | 0 | 0 | 0 | 1 | 0 | label not updated | 1 | 0 | 0 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | ok and working | 1 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | 0 | paint mould nitoced;#wall touch up | 1 | 0 | 0 | 0 | 1 | 1 light not working | 1 | 0 | 0 | 0 | 0 | N/A | 1 | german cockroach | 1 | 0 | 0 | 2 bunk;#2cupboard | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | Room Crowded;#Lack of cleanliness inside room;#using extension cords during day hours;#Using Electricity cord attached to bed and keeping above mattress;#Storing cooking utensils | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1
457 | Fair – Slightly untidy, needs improvement | 0 | 1 | 0 | 0 | 0 | label not updated | 1 | 0 | 0 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and working | 1 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | 0 | wall touch up;#ceiling touch up;#paint mould nitoced | 1 | 1 | 0 | 0 | 1 | 1 light not working | 1 | 0 | 0 | 0 | 0 | N/A | 1 | german cockroach | 1 | 0 | 0 | 2 bunk;#2cupboard | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | Room Crowded;#gathering waste behind the door;#Using Electricity cord attached to bed and keeping above mattress | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0
458 | Fair – Slightly untidy, needs improvement | 0 | 1 | 0 | 0 | 0 | label not updated | 1 | 0 | 0 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and working | 1 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | 0 | wall touch up | 1 | 0 | 0 | 0 | 0 | 1 light not working | 1 | 0 | 0 | 0 | 0 | N/A | 1 | german cockroach | 1 | 0 | 0 | 2 bunk;#2cupboard | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | Room Crowded;#Storing Food inside room;#Storing cooking utensils | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
459 | Unsatisfactory – Dirty, cluttered, overcrowded, unpleasant odor | 0 | 0 | 0 | 1 | 0 | label not updated | 1 | 0 | 0 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | ok and working | 1 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | 0 | paint mould nitoced;#wall touch up | 1 | 0 | 0 | 0 | 1 | 1 light not working | 1 | 0 | 0 | 0 | 0 | N/A | 1 | free of insects | 0 | 0 | 1 | 2 bunk;#2cupboard | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | Room Crowded;#Lack of cleanliness inside room | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
460 | Poor – Messy, poorly organized, unnecessary items present | 0 | 0 | 1 | 0 | 0 | label not updated | 1 | 0 | 0 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | damaged screen net | 0 | 1 | 0 | 0 | 0 | 0 | ok and working | 1 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | 0 | wall touch up;#paint mould nitoced | 1 | 0 | 0 | 0 | 1 | 1 light not working | 1 | 0 | 0 | 0 | 0 | N/A | 1 | german cockroach | 1 | 0 | 0 | 2 bunk;#2cupboard | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | Room Crowded;#Storing Food inside room;#Storing cooking utensils | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
461 | Fair – Slightly untidy, needs improvement | 0 | 1 | 0 | 0 | 0 | label not updated | 1 | 0 | 0 | ok and good condition | 0 | 0 | 0 | 0 | 0 | 1 | damaged screen net | 0 | 1 | 0 | 0 | 0 | 0 | ok and working | 1 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | 0 | ceiling touch up | 0 | 1 | 0 | 0 | 0 | good and working | 0 | 0 | 0 | 0 | 1 | N/A | 1 | free of insects | 0 | 0 | 1 | 2 bunk;#4 cupboard | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | using extension cords during day hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1

## Field Options
Valid checklist options per field
Source: the 'demo' row in the original SharePoint export (query (8).xlsx), which is a configuration legend of every selectable option per field, not a real inspection record. Rows marked (*) were found in real inspection data but are NOT in this legend -- likely typed as free text because the dropdown for that field was not configured with that choice.
Cleanliness
Excellent – Clean and well organized.
Fair – Slightly untidy, needs improvement
Poor – Messy, poorly organized, unnecessary items present
Unsatisfactory – Dirty, cluttered, overcrowded, unpleasant odor
Good – Clean with minor observations
Occupancy & Capacity
label not updated
holder not fixed or damaged
Occupancy and capacity are within the approved limits
Door
handle loose or damaged
damaged lock
hinges loose
The door frame has visible gaps
paint damaged
ok and good condition
Windows & Screens
obstructed
damaged screen net
window safety not available
The window wheel is rusted and stuck
window track is dirty
ok and good condition
Electrical Sockets
ok and working
damaged and broken (*)
Air Conditioner
W/leakage
remote not working
remote not functioning
not cooling
good and working
swing blades missed or loose
Wall & Ceiling Paint
wall touch up
ceiling touch up
full paint
good condition
paint mould nitoced
Lighting & Switch
1 light not working
2 light not working
3 light not working
light switch damaged
good and working
Smoke Detector & Sprinkler
(no fixed options configured for this field in the source list)
N/A (*)
Insects & Pest Control
german cockroach
bed bugs
free of insects
Furniture
1 single
2 single
3 single
4 single
1 bunk
2 bunk
3 bunk
4 bunk
1 cupboard
2cupboard
3 cupboard
4 cupboard
need bed barrier
need bed ladder
cupboard need repair
Violations
Room Crowded
Lack of cleanliness inside room
Smoking inside rooms
Using Carpets in room
Storing Food inside room
Using Electricity cord attached to bed and keeping above mattress
Using of microwaves, hotplates & ovens inside room
Keep A/C working without person inside
using kettle
using bin inside the room
using Incense sticks
using unsafe extension cords( joind &without plug)
nailing hangers on door and walls
using sticky hangers on door and walls
Hanging posters on the wall, windows and doors, and using adhesive tapes
Storing cooking utensils
gathering waste behind the door
using additional/wooden furniture
free of violation
using extension cords during day hours